## RNC-Rough
Site Information |  |  |  |  | Envelope Summary | [8 empty] | Moisture Content | [5 empty] | A. | ENV21 |  | Air Infiltration & QII |  |  | C. | ENV21 | Walls/Knee Wall Air Barrier
[20 empty] | 2 | SPF Insulation used as air barrier |  |  |  |  | 1 | All Penetrations sealed
| Job #: |  |  |  |  | Ceiling: |  |  |  |  | Height: |  |  | Location |  |  |  |  | % |  | 5.5" for ocSPF / 2" for ccSPF |  |  |  |  | 2 | Exter. Air Bar. Sealed to TP & BP
[26 empty] | 3 | All Elect. Boxes sealed
| Rater: |  |  |  | Roof Line: | [5 empty] | lbs per sf: | [9 empty] | Results: |  | Pass | N.C. | N/A | 4 | All TP & BP penetrations sealed
[26 empty] | 5 | Exter BP sealed to floor
| Date: |  |  |  |  | @ FAU | [19 empty] | 6 | All gaps at windows & doors sealed
[20 empty] | Correction Note: | [5 empty] | 7 | Rim Joint Gaps & holes sealed
| Builder: | [9 empty] | Floor | [14 empty] | 8 | Exhaust duct damper @ exter wall
[6 empty] | 2x4 Wall: |  |  |  |  | Ov/Gar: | [14 empty] | 9 | Metal tie downs insulated
Subdivision: | [25 empty] | 10 | Corners & Intersections Insulated
[6 empty] | 2x6 Wall: |  |  |  |  | Subfloor: | [8 empty] | B. | ENV21 |  | Raised Floor Air Barrier |  |  | 11 | Insul behind tub, shower, FP, etc
| City: | [18 empty] | 1 | All gaps are sealed |  |  |  |  | 12 | Solid Air Barrier behind tub, shower
[5 empty] | Cont. Insul: | [5 empty] | Slab Edge: | [8 empty] | 2 | All chases sealed at floor level w/hard cover & hard cover sealed |  |  |  |  | 13 | Headers insulated to R-2
| Super: | [18 empty] | 3 | All penetrations are sealed |  |  |  |  | 14 | Knee walls blocked Top, Bottom, Left, Right
[6 empty] | Radiant |  |  | Yes |  | No |  |  |  | Results: | Pass | N.C. | N/A |  | 4 | Subfloor sheathing is glued or sealed at exterior edges
| Phone #: |  |  |  |  | Barrier: | [20 empty] | Results: | Pass | N.C. | N/A
[21 empty] | Results: |  | Pass | N.C. | N/A
| Lot #: |  |  |  |  | All are |  |  | Yes |  | No
[6 empty] | Matching: | [19 empty] | Correction Note:
| Address: | [18 empty] | Correction Note:
Window Summary
| Plan: | [5 empty] | Target |  |  |  |  | Actual
[7 empty] | U-Value |  | SHGC |  |  | U-Value | SHGC
| SF: |  | Stories:
Oper
FX
SGD
FD
D. | ENV21 | Ceiling/Attic Air Barrier |  |  | G. | ENV21 |  | Cantlievered Floor Air Barrier | [5 empty] | B. | ENV22 | Roof Inspection - Unvented Attic |  |  |  | B. | ENV23 |  | Quality of All Installed Insulation |  |  | C. | ENV23 | Ceiling / Roof Insulation
2 | All pentrations sealed |  |  |  | 1 | Airtight Blocking sealed between joists where Rim Joist goes | [7 empty] | 1 | Cont. air barrier at the roof deck and gable ends |  |  |  |  | 1 | Insulation R-Values match CF1R |  |  |  |  | 2 | insulation in direct contact with ceiling w/No Gaps
3 | Eave vents have baffle |  |  |  | 2 | Continous sheating at bottom of cantilever | [7 empty] | 2 | Chimney/flue flashing sealed to framing |  |  |  |  | 2 | No Gaps aor voids beteen insul. & framing |  |  |  |  | 3 | Chimney/Flue is proper height and sealed
4 | Drop ceiling w/hard covers & sealed | [12 empty] | 3 | All Penetrations are sealed |  |  |  |  | 3 | Gaps between studs filled with insulation |  |  |  |  | 4 | Eave vents not obstructed
5 | Chases w/hard cover & sealed |  |  |  |  | Results: |  | Pass |  | N.C. |  | N/A | [7 empty] | 4 | Batt - Ends are cut so there is no gaps |  |  |  |  | 5 | Eave Vent Baffles are installed.
6 | Chase sealed at ceiling level | [13 empty] | Results: | Pass | N.C. | N/A |  | 5 | Batt - Insulation cut around obstructions |  |  |  |  | 8 | Mech plat. Insul meets CF1R
7 | Flue sheet metal caulked & sealed |  |  |  | Correction Note: | [14 empty] | 6 | Batt - Insulation is not compressed |  |  |  |  | 9 | Soffits/Chases have hard covers & sealed
8 | Vent Baffles stop air movement | [12 empty] | Correction Note: | [5 empty] | 7 | Batt - Delaminated around wires & plumbing |  |  |  |  | 10 | Knee Walls have air dams full hght. Of ceiling insul.
9 | Double wall TP covered & Sealed |  |  |  | H. | ENV21 |  | Multi-Family Air Barrier | [11 empty] | 8 | Air barrier on all exposed sides |  |  |  |  | 13 | Attic access has insulation dam
[5 empty] | 2 | Each Unit air sealed between units | [13 empty] | 10 | SPF - Fully adhered to framing cavity |  |  |  |  | 15 | attic rulers installed through out attic
| Results: | Pass | N.C. | N/A | 5 | Comman Wall bottom plates and penatrations sealed | [7 empty] | A. | ENV23 | QII Preparation for Insulation |  |  |  | 11 | SPF - with multiple layers, each adheres correctly |  |  |  |  | 17 | steel framing studs covered with insulation
[5 empty] | 6 | Vertical Chases sealed to floor and ceiling at each unit | [7 empty] | 1 | Air Barrier install and prep verified |  |  |  |  | 12 | SPF - If non standard R-Values used, ICC
Correction Note: |  |  |  |  | 7 | Vertical Chases sealed to surr. | [7 empty] | 2 | Structural framing is insulated | [5 empty] | evaluation service report is at HERS Provider | [5 empty] | Results: | Pass | N.C. | N/A
[20 empty] | 13 | ccSPF - when Air Barrier is req., foam is 2" +
[6 empty] | Results: |  | Pass |  | N.C. |  | N/A |  |  | Results: | Pass | N.C. | N/A |  | 14 | ocSPF - depressions less than 1" & 10%
E. | ENV21 | Cond. Space Above Air Barrier | [17 empty] | 15 | ocSPF 2x4 cavity or less are filled |  |  |  |  | Correction Note:
1 | All Penetrations Sealed |  |  |  | Correction Note: | [8 empty] | Correction Note: | [5 empty] | 16 | ocSPF - larger than 2x4 cavity meets R-value
[26 empty] | D. | ENV23 | Wall Insulation
| Results: | Pass | N.C. | N/A | A. | ENV22 |  | Ceiling Inspection - Vented Attics | [12 empty] | Results: |  | Pass | N.C. | N/A | 1 | Fills Cavity and is in contact with air barrier
[5 empty] | 1 | Continuous air barrier at ceiling level | [19 empty] | 2 | ocSPF 2x4 or less is filled
Correction Note: |  |  |  |  | 2 | Chimney/flue flashing sealed to framing | [13 empty] | Correction Note: | [5 empty] | 3 | ccSPF meets R-value thickness
[5 empty] | 3 | All penetrations at Inter. & Exter Wall Top Plate sealed | [19 empty] | 4 | Double walls filled cavity or air barrier installed
[5 empty] | 5 | Recessed Lights are IC/AT and sealed | [19 empty] | 5 | Foam around windows, no batts stuffed
F. | ENV21 | Walls Attached Porch Air Barrier |  |  | 7 | Chases/Soffits have hard covers & sealed | [19 empty] | 6 | Elec Panel is air tight with insul behind
1 | Air Barrier at Interior & Exterior sides |  |  |  | 8 | Double walls have covers & sealed | [19 empty] | 7 | Skylight/Knee wall insul has 6 sided air barrier
2 | Exterior air barrier at intersections |  |  |  | 10 | Knee walls blocked at top, bottom, left, right | [19 empty] | 8 | Skylight/Knee wall insul in full contact of interior
3 | Truss Frame blocking @ top & bottom of wall/roof section |  |  |  | 11 | HVAC chases sealed at ceiling level | [19 empty] | 9 | Skylight/Knee wall TP & BP sealed
[5 empty] | 13 | All top plates at Inter & Exter sealed to drywall | [19 empty] | 10 | Band/Rim Joists insulated like wall
| Results: | Pass | N.C. | N/A | 14 | Attic Access has Dam as high as insulation
[5 empty] | 15 | Knee Wall dam at exterior edge & insulation edge | [20 empty] | Results: | Pass | N.C. | N/A
Correction Note:
[6 empty] | Results: |  | Pass |  | N.C. |  | N/A | [13 empty] | Correction Note:
Correction Note:
E. | ENV23 | Raised Floor Insulation Quality |  |  | F. | PLB22 |  | HERS Verified Pipe Insulation | [5 empty] | J. | PLB22 | HERS Verified Demand Recirc |  |  |  | Picture List | [5 empty] | Notes
1 | Insulation in full contact with subfloor |  |  |  | 1 | All Hot water pipes insulated | [7 empty] | 1 | System operates "on demand"
2 | Insulation hangers are spaced 18", no compres. | [12 empty] | 2 | Pump turns off after temp reached | [6 empty] | Front of the house from the street
3 | Netting only used if filled and in contact with subfloor |  |  |  |  | Results: |  | Pass |  | N.C. |  | N/A |  | 3 | pump limits max run to 10 minutes | [6 empty] | Lot Number / Address Identifier
4 | Crawlspace walls insulated when next to basement | [12 empty] | 4 | Pump / control placement meets 1 in list | [6 empty] | Air bariers at typical chases, dropped ceilings, double walls
[5 empty] | Correction Note: | [8 empty] | 5 | Insulation not required at cold when used as return | [6 empty] | Sealing at critical locations: Bottom plate, Top Plate, gaps
| Results: | Pass | N.C. | N/A | [9 empty] | 6 | Control has 1W or less standby | [6 empty] | Insulation R-Values, wall, floor, ceiling, catwalk, rim joists
[5 empty] | G. | PLB22 |  | HERS Verified Parallel Piping | [5 empty] | 7 | Each loop has its own pump and controls | [6 empty] | Duct Layout & R-Value
Correction Note: |  |  |  |  | 1 | 5ft of piping to manifold | [7 empty] | 8 | Automatic Air release valve is installed on pump | [6 empty] | Attic Rulers / Insulation depth (6 spots required)
[5 empty] | 2 | Manifold w/Valves are accessible | [7 empty] | 9 | Check valve between pump and Water Heater | [6 empty] | Insulation baffles at eave venting
F. | ENV23 | Floor Above Garage Insulation Quality |  |  | 3 | Hot water piping takes most direct path | [7 empty] | 10 | Hose bibb installed between pump and DWH | [6 empty] | Recessed can lights, showing Air Tight & IC Rating, gasket
1 | Insulation in full contact with subfloor |  |  |  | 4 | Hot water line sep. 2" from hot & 6" from cold | [7 empty] | 11 | Isolation valves installed on both sides of the pump | [6 empty] | Window Stickers (U-Value / SHGC) OPER, FX, SGD, FRD
2 | Insulation hangers are spaced 18", no compres. | [12 empty] | 12 | Cold water and loop not connected to tank drain | [6 empty] | Radiant Barrier
3 | Netting only used if filled and in contact with subfloor |  |  |  |  | Results: |  | Pass |  | N.C. |  | N/A |  | 13 | Check valve between at cold line water heater side | [6 empty] | Outdoor Air Ductwork
| Results: | Pass | N.C. | N/A | Correction Note: | [9 empty] | Results: | Pass | N.C. | N/A |  |  |  | Green Code Pictures
Lumber Grade, Type at Joists, Walls
Correction Note: |  |  |  |  | H. | PLB22 |  | HERS Verified Compact Distro. | [5 empty] | Correction Note: | [7 empty] | VOC for Paint Cans, Sealants, Calk, Wood Stains
[5 empty] | 1 | Total Coditioned Space | [15 empty] | Duct Coverings for all duct work
G. | ENV23 | Cantilevered Floor Insulation Quality |  |  | 2 | Max allowed pipe run length | [15 empty] | Pest Control Features: Termite Shields, Borat
1 | Insulation in full contact with subfloor |  |  |  | 3 | Length of pipe run is less than max | [15 empty] | Waste Management: waste & recycle bins
2 | Sealed blocking installed between joists | [20 empty] | storm water control: waddle, storm drains, etc
[6 empty] | Results: |  | Pass |  | N.C. |  | N/A | [9 empty] | Framing Spacing (16" vs 24") - Using Tape measure
| Results: | Pass | N.C. | N/A | [17 empty] | Window / Door Headers - Interior & Exterior doors
Correction Note:
Correction Note:
[5 empty] | I. | PLB22 |  | HERS Verified Point of Use
H. | ENV23 | Attached Porch Roof Insulation |  |  | 1 | All hot water pipe less than max allowed
1 | Exterior all intersection is fully insulated |  |  |  |  | 3/8" = 15ft / 1/2" = 10ft / 3/4" = 5ft
2 | Sealed blocking used at top & bottom of section
[6 empty] | Results: |  | Pass |  | N.C. |  | N/A
| Results: | Pass | N.C. | N/A
Correction Note:
Correction Note:

## RNC-Final
Site Information | [10 empty] | Testing Equipment Info | [9 empty] | Heating System | [10 empty] | Duct Leakage Verification | [11 empty] | Airflow Verification
| Job #: | [11 empty] | Manometer | [7 empty] | Make: | [8 empty] | Matches |  | Cooling: |  |  |  |  | Duct Location: | [7 empty] | Probe: | HSPP |  |  | PSPP
| Rater: | [11 empty] | Make: | [7 empty] | Model: | [15 empty] | Duct R-Value:
[13 empty] | Model: | [18 empty] | Heating: | [12 empty] | Tool: | Hood |  |  | Grid |  |  | Plenum Pressure
| Date: | [11 empty] | Serial: | [7 empty] | Serial #: | [15 empty] | Target CFM |  |  |  | Measured CFM
| Builder: | [11 empty] | Flow Hood | [7 empty] | Efficiency: | [6 empty] | Btu/hr: |  |  |  | Airflow: | [13 empty] | Target CFM | [7 empty] | Measured CFM
All Zones:
Subdivision: | [12 empty] | Make: | [7 empty] | Indoor Cooling Coil
[13 empty] | Model: | [20 empty] | Results: | Pass |  |  | N.C. |  |  | N/A
| City: | [11 empty] | Serial: | [7 empty] | Make: | [8 empty] | Matches
ZONED SYSTEM NEED RESULTS FOR EACH ZONE
| Super: | [11 empty] | Flow Grid | [7 empty] | Model: | [10 empty] | HVAC System Info
[44 empty] | Zone 1: |  | Measured CFM | [5 empty] | Zone 2: |  | Measured CFM
| Phone #: | [11 empty] | Make: | [7 empty] | Serial #: | [11 empty] | Zoned System? | [6 empty] | Bypass Duct?
[13 empty] | Model: | [19 empty] | Yes |  |  | No |  |  |  | Yes |  |  | No
| Lot #: | [11 empty] | Serial: | [7 empty] | Outdoor Cooling Condenser
Var Speed Compressor
| Address: | [11 empty] | Blower Door Fan | [7 empty] | Make: | [8 empty] | Matches |  |  | Zone #: | [11 empty] | Location: | [7 empty] | Location:
| Plan: | [11 empty] | Make: | [7 empty] | Model: | [10 empty] | Duct Leakage to Outside | [11 empty] | Zone 3: |  | Measured CFM | [5 empty] | Zone 4: |  | Measured CFM
Model:
| SF: |  |  |  |  | Stories: | [6 empty] | Serial: | [7 empty] | Serial #: | [15 empty] | Target CFM |  |  |  | Measured CFM
| DT: |  |  |  | DT LTO: |  |  |  | QII: |  |  |  | RCM Gauges | [7 empty] | SEER: | [6 empty] | Tonnage:
[45 empty] | Location: | [7 empty] | Location:
| AF: |  |  |  | RCM: |  |  |  | BD: |  |  |  | Make: | [7 empty] | Water Heater
[13 empty] | Model: | [20 empty] | Results: | Pass |  |  | N.C. |  |  | N/A |  |  |  | Results: | Pass |  |  | N.C. |  |  | N/A
| FW: |  |  |  | Ver. DD: |  |  |  | Solar: |  |  |  | Serial: | [7 empty] | Make: | [8 empty] | Matches
| IAQ: |  |  |  | DCS: | [15 empty] | Model:
Fan Watt Verification | [10 empty] | IAQ Fan Verification | [9 empty] | Infiltration Verification | [10 empty] | Refrigerent Charge Verification | [11 empty] | Refrigerent Weight In Verification
| Tool: | Watt Meter |  |  | Analog Util Mtr |  |  | Digital Util Mtr |  |  | Fan Type: | [5 empty] | Schedule: |  |  |  | Indoor F°: | [5 empty] | BD Location: | [5 empty] | TMAH Present | [5 empty] | TXV Present
[33 empty] | Yes |  |  | No |  |  | Yes |  |  | No |  | Cond DB:
[11 empty] | Fan Count: | [5 empty] | Fan ON Time: |  |  |  | Outdoor F°: | [5 empty] | Altitude: |  |  |  | ft
|  | Target Watts | [6 empty] | Measured Watts | [37 empty] | Manf. Default | [5 empty] | Installed
[7 empty] | All Zones: |  |  |  | Location: | [9 empty] | Fan Ring: |  | A |  | B |  |  | C |  | Open
[32 empty] | Return DB: | [6 empty] | Return WB: |  |  |  |  | Charge: |  |  |  | lbs |  | oz
[12 empty] | Target CFM | [6 empty] | Measured CFM
[17 empty] | All Fans: |  |  |  | Baseline Pressure (read for 10 sec.) | [6 empty] | Blower Door Pressures |  |  |  | Cond DB: | [6 empty] | Supply DB: |  |  |  |  | Line Diam: | [5 empty] | in |  |  |  |  | in
ZONED SYSTEM NEED RESULTS FOR EACH ZONE
[11 empty] | MORE THAN 1 FAN USED, NEED CFM FOR EACH FAN | [9 empty] | Baseline: | [6 empty] | Target: |  |  | Pa | [12 empty] | Line Lgth: | [5 empty] | ft |  |  |  |  | ft
Zone 1: |  | Measured Watts | [5 empty] | Zone 2: |  | Measured Watts | [21 empty] | Liquid Temp: | [6 empty] | Suction Temp:
[11 empty] | Fan 1: |  | Measured |  |  |  |  | Fan 2: |  | Measured | Alt. Cor: | [6 empty] | Measured: |  |  | Pa | [12 empty] | Coil Size | [5 empty] | tons |  |  |  |  | tons
[28 empty] | (+/- 3 of target) |  |  |  | Liquid Pres: | [6 empty] | Suction Pres:
Temp Cor:
[12 empty] | Location: | [6 empty] | Location: | [12 empty] | Cond Sat: | [6 empty] | Evap Sat: | [7 empty] | Target | [5 empty] | Verified
| Location: | [7 empty] | Location: | [12 empty] | Target CFM |  |  | Measured CFM |  |  |  | Adjusted CFM
[11 empty] | Fan 3: |  | Measured |  |  |  |  | Fan 4: |  | Measured | [16 empty] | Target SC |  |  |  | Measured SC |  |  | Adjustment: |  |  |  | lbs |  | oz |  |  |  | lbs | oz
Zone 3: |  | Measured Watts | [5 empty] | Zone 4: |  | Measured Watts | [22 empty] | Standard | [10 empty] | ENTER NEGTIVE NUMBERS FOR REMOVAL OF REFRIGERENT
[12 empty] | Location: | [6 empty] | Location: | [26 empty] | Results: | Pass |  |  | N.C. |  |  | N/A
[23 empty] | Results: | Pass |  | N.C. |  |  | N/A |  |  |  | Weigh In
[12 empty] | Results: | Pass |  | N.C. |  |  | N/A | [18 empty] | Target SH |  |  |  | Measured SH
| Location: | [7 empty] | Location:
[22 empty] | Setup Notes: | [10 empty] | Cold Weather
| Results: | Pass |  |  | N.C. |  |  | N/A |  |  | Kitchen Hood Verification | [10 empty] | Combustion appliance flue vents shall be left as-found. Fans, including clothes dryers; kitchen and bathroom exhaust fans; and air handlers shall be turned off and left unsealed. IAQ Continuous fans shall be turned off and sealed at the outlet. IAQ Intermittent fans shall be turned off and left unsealed.
[12 empty] | Make: | [21 empty] | Results: | Pass |  |  | N.C. |  |  | N/A
Model:
Type:
Schedule:
Verified Duct Credits | [10 empty] | E. | ENV21 |  | Cond. Space Above Air Barrier | [6 empty] | B. | ENV23 |  | Quality of All Installed Insulation | [7 empty] | Picture List | [11 empty] | Solar
[11 empty] | 2 | Infiltration between space above and garage is prevented | [8 empty] | 9 | Loose Fill - Insulation at minimum weight per sf
|  | Ducts Located in Conditioned Space | [31 empty] | Front of the house/unit (showing address / lot #) | [11 empty] | PV Panels
[12 empty] | Results: |  | Pass |  | N.C. |  |  | N/A |  |  | Insul Weight: |  |  |  |  | lbs/sf | [6 empty] | Furnace Mfg Name Plate (Make, Model, Serial)
|  |  | Results: | Pass |  |  | N.C. | [26 empty] | Coil Mfg Name Plate (Make, Model, Serial) | [11 empty] | Make:
[11 empty] | Correction Note: | [10 empty] | Results: |  | Pass |  | N.C. |  |  | N/A |  |  |  |  | Condeser Mfg Name Plate (Make, Model, Serial) | [11 empty] | Model:
[34 empty] | Water Heater Mfg Name Plate (Make, Model, Serial) | [11 empty] | Serial:
|  | Verified Duct Design | [8 empty] | G. | ENV21 |  | Cantlievered Floor Air Barrier | [6 empty] | Correction Note: | [12 empty] | Duct Leakage Results
|  | Refer to duct layout drawings and verify insulation follows designs | [8 empty] | 3 | All gaps, cracks, penetrations sealed. Lights are IC & AT | [21 empty] | Airflow Results | [11 empty] | Inverter
Fan Watt Draw Results
[12 empty] | Results: |  | Pass |  | N.C. |  |  | N/A |  | C. | ENV23 |  | Ceiling / Roof Insulation | [9 empty] | IAQ Fan Flow Results | [11 empty] | Make:
[21 empty] | 1 | Inslation extends to outside edge of Top Plate and dams | [11 empty] | IAQ Fan Mfg Name Plate, switching, controller | [11 empty] | Model:
|  |  | Results: | Pass |  |  | N.C. |  |  |  | Correction Note: | [9 empty] | 6 | Recessed lights are covered with insulation | [11 empty] | Exhaust Fan Mfg Name Plate, Switch, Humidistats | [11 empty] | Serial:
[21 empty] | 7 | SPF - Not used at Recessed lights | [11 empty] | Attic Insulation - Insulation Cert, Scale & Ruler reading
[11 empty] | H. | ENV21 |  | Multi-Family Air Barrier | [6 empty] | 11 | Attic access is insulated and mech fastened | [11 empty] | Solar Invertors, Meters, Name Plate, Installation | [11 empty] | Array 1 | [5 empty] | Array 2
|  | Buried Ducts | [8 empty] | 3 | All Penetrations at Floor & Ceiling are sealed at each unit | [8 empty] | 12 | Vertilcally mounted Attic access is sealed and has Mech Latch | [11 empty] | HVAC Bypas Ducts
[11 empty] | 4 | Utilities spaces sealed to reduce air transfer to attached spaces | [8 empty] | 14 | batts cut to filt around braces and framing | [11 empty] | HVAC Zoning equipment, board, dampers, etc. | [11 empty] | Count: | [5 empty] | Count:
|  |  | Results: | Pass |  |  | N.C. |  |  |  | 8 | Penetrations to hallways & doors gasketed. | [8 empty] | 16 | Loose Fill - measured thickness in 6 spots | [23 empty] | Azimuth: | [5 empty] | Azimuth:
[46 empty] | Tilt: | [5 empty] | Tilt:
[12 empty] | Results: |  | Pass |  | N.C. |  |  | N/A |  |  | Results: |  | Pass |  | N.C. |  |  | N/A |  |  |  |  | Green Code Pictures
|  | Deeply Buried Ducts | [31 empty] | Furnace / W.H. PVC Flue Vents | [11 empty] | Array 3 | [5 empty] | Array 4
[11 empty] | Correction Note: | [22 empty] | HVAC Air Filter Merv Rating
|  |  | Results: | Pass |  |  | N.C. | [13 empty] | Correction Note: | [12 empty] | Landscaping Plants, Truf, Ground Cover (wide angle) | [11 empty] | Count: | [5 empty] | Count:
[11 empty] | A. | ENV22 |  | Ceiling Inspection - Vented Attics | [19 empty] | Irrigation Systems Location, Sensors, Make, Model | [11 empty] | Azimuth: | [5 empty] | Azimuth:
[11 empty] | 4 | All Elec. Boxes & sprinklers sealed to drywall | [21 empty] | Lawn Sprinkler System, Heads and spray pattern. | [11 empty] | Tilt: | [5 empty] | Tilt:
[11 empty] | 6 | Exhaust Fan housing & holes are sealed | [8 empty] | E. | ENV23 |  | Raised Floor Insulation Quality | [9 empty] | Lighting Bulbs, base attachment type, Energy star?
[11 empty] | 9 | Attic Access is sealed & mech. compression | [8 empty] | 5 | Crawlspace access is Airtight & insulated | [11 empty] | Toilets Gallons/Flush | [11 empty] | Pictures
[11 empty] | 12 | HVAC Boots sealed to drywall | [21 empty] | Faucets Gallon/Minute
[22 empty] | Results: |  | Pass |  | N.C. |  |  | N/A |  |  |  |  | Shower Head Gallons/Minute | [12 empty] | Aerial Photos |  |  |  |  | Shading Objects
[12 empty] | Results: |  | Pass |  | N.C. |  |  | N/A | [14 empty] | Refrigerator Mfg Name Plate (Make, Model, Serial) | [12 empty] | Azimuth Photos
[21 empty] | Correction Note: | [12 empty] | Dishwasher Mfg Name Plate (Make, Model, Serial) | [12 empty] | Tilt Photos
[11 empty] | Correction Note: | [22 empty] | Clothes Washer Mfg Name Plate (Make, Model, Serial)
Clothes Dryer Mfg Name Plate (Make, Model, Serial)